## Sheet1
| Energy Management and Reporting System (EMRS) |  |  |  |  | Version 7
| Project Points List EMRS Submittal Form |  |  |  |  | 2020-06-21
Project Name: P999-18-112_011_Tanz_JCI_FLEXI_FLOW_METER
| Date of Submittal: | 2019-05-17
Bacnet Object Name | Bacnet Object Description | Bacnet Object Type | Bacnet Object Instance Number | Bacnet Controller Name | Bacnet Controller Instance Number | Bacnet Object is CRITICAL ALARM | BACnetPointHistorySlowPV | BACnetPointHistoryFastPV | BACnetPointHIstoryExtendedPV | BACnetPointGroupNumber | BACnetPointExcelWebIP | BACnetPointElecSigSecondarySignatureLevel | BACnetPointElecSigSecondarySignatureMeaning | BACnetPointElecSigPrimarySignatureMeaning | BACnetPointElecSigReasonSet | BACnetPointElecSigSignatureType | BACnetPointControlLevel | BACnetPointControllerID | BACnetPointControllerName | BACnetPointControlConfirmation | BACnetPointBACnetItemType | BACnetPointAssociatedDisplayNumber | BACnetPointAlarmMessageIndex | BACnetPointBackFillOnly | BACnetPointRangeLow | BACnetPointRangeHigh
087_AHU_LL1_02_Ra_Hum | Return Air Humidity | AI | 3002982 | 087_DDC03 | 387003 | YES | FALSE | FALSE | FALSE | 0 |  | Mngr |  |  | 0 | None | 0 | 387001 | 087-DDC01 | FALSE | Analog Input | default | 0 | FALSE | 0 | 100