## Cover
Form revised on (Year_Month_Version) | 2024_10_1.0
Purpose | This spreadsheet helps to maintain a consistent naming convention for equipment across the campus. It will also be used to identify the location of the equipment at the building level.
This spreadsheet shall be used for new components only.
For any project, the design team is required to coordinate with U of T area managers to confirm available equipment sequence..
Instructions
1 | Under the tab 'Naming System,' fill in the cells that are highlighted in XXXX. Some of the items are from a drop down list and others will require manual inputs.
2 | The 'Tag' cell will identify the final equipment tag name.
3 | The BIM tag is what gets printed out on the Lamacoid and is used as our asset reference.
Equipment tag LEGEND (LAMACOID) |  | XXX | XXX | XXX | XXX | XXX | XXX
(Note: Shall be used for new equipments only, no change to existing tag) |  | Building number | Downstream equipment abbreviation | Source/primary system | Equipment sequence number | Building level | Uniformat building system number
Worksheets in this document | Remark
Cover | Start here, please read the instruction and go to the applicable sheets
Naming system | Worksheet which you can use for preparing the equipment tag
DATA - U of T building mames | Do not edit/use - for database purpose only
DATA - FLR and UniFormat System | Do not edit/use - for database purpose only
DATA - abbreviations | Do not edit/use - for database purpose only
UofT map | For reference only
Version 2024_10_1.0 Log
Created new Naming System strategies with enriched database.

## Naming System
Mechanical system naming guidelines
Project name: PXXX-XX-XXX
Date of submittal:
Item | Building name | Source/system | Follow syntax instruction if available (insert value in next cell if there is an instruction in this column) | Fluid pressure temperature (follow previous column) | Downstream equipment /devices | Equipment sequence number | Floor type | Level (LEAVE EMPTY FOR ROOFTOP) Example: B1, B2, L1, L10, MZ, PH1, RT, P1 | Custom floor level | UniFormat System assignment | Source Abbreviation | Associated Downstream Equipment | Uniformat# | Building Code | Location Level | Drawing tag | Lamacoid tag
1 | Hart House | 00-DO NOT ASSIGN | N/A |  | RADIATOR | 1 | Custom |  | LL2 | Heating Water System | ## | R | D3044 | 002 |  | R-1 | 002-R-##-1-LL2-D3044
2 | University College | HEATING GLYCOL SYSTEM | X: % of Glycol Y :PG or EG ; Z-Temperature ( Low / Medium/High) - Type of Glycol, ENTER X_Y_Z | 50_EG_M | HEAT EXCHANGER | 23 | Floor Level | 1 |  | Heating Water System | HW_50_EG_M | HX | D3044 | 001 | L1 | HX-HW_50_EG_M-23 | 001-HX-HW_50_EG_M-23-L1-D3044
3 | Medical Sciences Building | AIR DISTRIBUTION SYSTEM | N/A |  | AIR HANDLING UNIT | 3 | Basement | 0 |  | Air Distribution Systems | AIR | AHU | D3041 | 005 | B0 | AHU-AIR-3 | 005-AHU-AIR-3-B0-D3041
4 | D.L. Pratt Building | 00-DO NOT ASSIGN | N/A |  | AIR HANDLING UNIT | 10 | Basement | 6 |  | Air Distribution Systems | ## | AHU | D3041 | 008A | B6 | AHU-10 | 008A-AHU-##-10-B6-D3041
5 | Earth Sciences Centre | LABORATORY GAS SYSTEMS (use gas type in device name) | X is gas type, Example: LABGAS_X where Nitrogen (N), Oxygen (O), Argon (Ar), Enter as X | Ar | EQUIPMENT | 1 | Custom |  | LL1 | Gas Distribution | LABGAS_Ar | EQP | D2091 | 062 |  | EQP-LABGAS_Ar-1 | 062-EQP-LABGAS_Ar-1-LL1-D2091
6 | Lassonde Mining Building | AIR DISTRIBUTION SYSTEM | N/A |  | FUME HOOD | 3 | Floor Level | 3 |  | Air Distribution System - Lab Specialty Exhaust | AIR | FH | D3042 | 007 | L3 | FH-AIR-3 | 007-FH-AIR-3-L3-D3042
7 | Wallberg Building | FRESH AIR +COOLING | N/A |  | FAN COIL UNITS | 110 | Floor Level | 3 |  | Air Distribution Systems | OAC | FCU | D3041 | 008 | L3 | FCU-OAC-110 | 008-FCU-OAC-110-L3-D3041
8 | Gerstein Science Information Centre in the Sigmund Samuel Library | CHILLED GLYCOL SYSTEM - PRIMARY LOOP | X: % of Glycol Y :PG or EG - Type of Glycol, Enter as X_Y | 45_PG | MAKE UP AIR UNIT | 13 | Floor Level | 1 |  | Cooling Generating Systems | CH_P_45_PG | MAU | D3062 | 003 | L1 | MAU-CH_P_45_PG-13 | 003-MAU-CH_P_45_PG-13-L1-D3062
9 | Student Commons | HIGH TEMP. HOT WATER SYSTEM | Temperature in Farenheight, Enter Z | 180 | PUMP | 3 | Floor Level | 1 |  | Heating Water System | HTHW_180 | P | D3044 | 028 | L1 | P-HTHW_180-3 | 028-P-HTHW_180-3-L1-D3044
10 | McMurrich Building | CHILLED GLYCOL SYSTEM - SECONDARY LOOP | X: % of Glycol Y :PG or EG - Type of Glycol, Enter as X_Y | 45_PG | HEAT EXCHANGER | 5 | Penthouse | 15 |  | Chilled Glycol System - Secondary Loop | CH_S_45_PG | HX | D30451 | 004 | PH15 | HX-CH_S_45_PG-5 | 004-HX-CH_S_45_PG-5-PH15-D30451
11 | Regis College | CHILLED GLYCOL SYSTEM | X: % of Glycol Y :PG or EG - Type of Glycol, Enter as X_Y | [7 empty] | CH_ | #NAME? | 0 | 478 | BLANK | Enter Data | Enter Data
12 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
13 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
14 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
15 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
16 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
17 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
18 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
19 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
20 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
21 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
22 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
23 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
24 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
25 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
26 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
27 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
28 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
29 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
30 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
31 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
32 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
33 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
34 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
35 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
36 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
37 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
38 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
39 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
40 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
41 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
42 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
43 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
44 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
45 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
46 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
47 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
48 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
49 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
50 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
51 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
52 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
53 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
54 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
55 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
56 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
57 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
58 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
59 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
60 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
61 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
62 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
63 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
64 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
65 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
66 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
67 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
68 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
69 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
70 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
71 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
72 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
73 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
74 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
75 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
76 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
77 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
78 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
79 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
80 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
81 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
82 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
83 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
84 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
85 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
86 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
87 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
88 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
89 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
90 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
91 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
92 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
93 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
94 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
95 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
96 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
97 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
98 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
99 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data
100 |  |  | #N/A | [7 empty] | Enter Data | #NAME? | 0 | Enter Building name | BLANK | Enter Data | Enter Data

## DATA - U of T Building Names
Campus | Building code | Building name
Other Federated Colleges | 034 | Massey College
Other Federated Colleges | 433 | Queen's Park Crescent East-43
Other Federated Colleges | 434 | Toronto School of Theology
Other Federated Colleges | 478 | Regis College
Other Federated Colleges | 575 | Knox College
Other Federated Colleges | 575A | Nona Macdonald Visitors Centre
Other Federated Colleges | 675 | Wycliffe College
St. George | 001 | University College
St. George | 002 | Hart House
St. George | 003 | Gerstein Science Information Centre in the Sigmund Samuel Library
St. George | 004 | McMurrich Building
St. George | 005 | Medical Sciences Building
St. George | 006 | John P. Robarts Library Building
St. George | 006A | Claude T. Bissell Building
St. George | 006B | Thomas Fisher Rare Book Library Building
St. George | 007 | Lassonde Mining Building
St. George | 008 | Wallberg Building
St. George | 008A | D.L. Pratt Building
St. George | 009 | Sandford Fleming Building
St. George | 010 | Simcoe Hall
St. George | 010A | Convocation Hall
St. George | 011 | C. David Naylor Building
St. George | 012A | Munk School of Global Affairs & Public Policy at Trinity
St. George | 012B | Munk School of Global Affairs & Public Policy at Trinity
St. George | 012C | Munk School of Global Affairs & Public Policy - Graham Library
St. George | 013 | Whitney Hall
St. George | 014 | Bloor Street West-371
St. George | 016 | Banting Institute
St. George | 017 | Queen's Park-90
St. George | 018 | Central Steam Plant
St. George | 019 | J. Robert S. Prichard Alumni House
St. George | 020 | Rosebrugh Building
St. George | 021 | Engineering Annex
St. George | 022 | Mechanical Engineering Building
St. George | 023 | University College Union
St. George | 024 | Haultain Building
St. George | 025 | FitzGerald Building
St. George | 026 | Cumberland House
St. George | 027 | Physical Geography Building - St. George Street-45
St. George | 028 | Student Commons
St. George | 029 | Sir Daniel Wilson Residence
St. George | 030A | Varsity Centre
St. George | 031 | Hart House Circle-16 (Demolished 98/09)
St. George | 032 | Wetmore Hall-New College
St. George | 032A | Wilson Hall-New College
St. George | 033 | Sidney Smith Hall
St. George | 036 | Astronomy & Astrophysics Building
St. George | 038 | Woodsworth College
St. George | 040 | Faculty of Law
St. George | 041 | Varsity Pavilion
St. George | 042 | Goldring Centre for High Performance Sport
St. George | 043 | School of Graduate Studies
St. George | 047 | Canadiana Gallery
St. George | 050 | Falconer Hall
St. George | 051 | Edward Johnson Building
St. George | 053 | Dr. Eric Jackman Institute of Child Study
St. George | 054 | Daniels Building
St. George | 055 | Highland Avenue-93
St. George | 056 | Graduate Students' Union
St. George | 057 | Bancroft Building
St. George | 061 | Borden Building South
St. George | 061A | Borden Building North
St. George | 062 | Earth Sciences Centre
St. George | 064 | Graduate House
St. George | 065 | Dentistry Building
St. George | 066 | Spadina Avenue-665
St. George | 067 | Huron Street-215
St. George | 068 | Clara Benson Building
St. George | 068A | Warren Stevens Building
St. George | 070 | Galbraith Building
St. George | 072 | Ramsay Wright Laboratories
St. George | 073 | Lash Miller Chemical Laboratories
St. George | 075 | Faculty Club
St. George | 077 | Sussex Court
St. George | 078 | McLennan Physical Laboratories
St. George | 079 | Anthropology Building
St. George | 080 | Bahen Centre for Information Technology
St. George | 082 | Gage Building
St. George | 083 | McCaul Street-254/256
St. George | 087 | Myhal Centre for Engineering Innovation and Entrepreneurship
St. George | 088 | St. George Street-123
St. George | 089 | Munk School of Global Affairs & Public Policy at the Observatory
St. George | 090 | College Street-88
St. George | 091 | Luella Massey Studio Theatre
St. George | 092 | Communications House
St. George | 093 | Electrometallurgy Lab
St. George | 094 | Back campus Fields
St. George | 097 | Queen's Park Crescent East-39
St. George | 097A | Queen's Park Crescent. E.-39A
St. George | 098B | Wellesley Street West-90
St. George | 098C | Wellesley Street West-90
St. George | 101 | Morrison Hall
St. George | 102 | Soldiers' Tower
St. George | 103 | School of Continuing Studies
St. George | 104 | Max Gluskin House
St. George | 105 | Fields Inst for Research in Math Science
St. George | 106 | St. George Street-162
St. George | 109 | College Street-179
St. George | 110 | St. George Street-121
St. George | 111 | Factor-Inwentash Faculty of Social Work
St. George | 112 | College Street-185
St. George | 114 | College Street-187
St. George | 118 | Aura Lee Playing Field
St. George | 120 | Louis B. Stewart Observatory (UTSU)
St. George | 122 | North West Chiller Plant
St. George | 123 | Ontario Institute for Studies in Education
St. George | 125 | Spadina Avenue-703
St. George | 127 | Enrolment Services
St. George | 128 | Jackman Humanities Building
St. George | 129 | Early Learning Centre
St. George | 130 | Woodsworth College Residence
St. George | 131 | New College III
St. George | 132 | Innis College
St. George | 133 | Innis College Student Residence
St. George | 134 | Rotman School of Management
St. George | 135 | St. George Parking Garage
Trinity College | 600 | Trinity College
Trinity College | 602 | Munk School of Global Affairs & Public Policy at Trinity
Trinity College | 603 | Trinity College - Larkin Building
Trinity College | 608 | George Ignatieff Theatre
Victoria University | 501 | Victoria College
Victoria University | 502 | Emmanuel College
Victoria University | 503 | Victoria University Residences
Victoria University | 504 | Margaret Addison Hall
Victoria University | 505 | Goldring Student Centre
Victoria University | 505A | Burwash Residence (Upper Houses)
Victoria University | 506 | Annesley Hall
Victoria University | 507 | Goldring Student Centre
Victoria University | 508 | Margaret Addison Hall
Victoria University | 509 | Isabel Bader Theatre
Victoria University | 513 | Stephenson House
Victoria University | 514 | E.J. Pratt Library
Victoria University | 515 | Northrop Frye Hall
Victoria University | 516 | Charles Street West-65
Victoria University | 518 | Rowell Jackman Hall
Victoria University | 528 | Lillian Massey Building

## DATA - FLR and UniFormat System
Floor type | Prefix
Basement | B
Custom
Floor Level | L
Parking Level | P
Mezzanine Level | MZ
Rooftop | RT
Penthouse | PH
Things to know - UNIFORMAT SYSTEM TYPE
System type starting with D | SERVICES
System type starting with G | BUILDING SITEWORK
D10 | Represent CONVEYING
D20 | Represent PLUMBING
D30 | Represent HVAC
Level 3 Classification | Level 4 Classification | Level 4 System Type
D2020 Domestic Water Distribution | D2021 | Domestic Cold Water Service
D2020 Domestic Water Distribution | D2022 | Domestic Hot Water Service
| D2022 | Domestic Hot Water Recirc
D2020 Domestic Water Distribution | D2023 | Domestic Water Supply Equipment
| D2024 | Deionized Water
| D2024 | Ro Water
| D2024 | Solar Water Heating System
D2030 Sanitary Waste | D2031 | Waste Piping
D2030 Sanitary Waste | D2032 | Vent Piping
D2030 Sanitary Waste | D2033 | Floor Drains
D2030 Sanitary Waste | D2034 | Sanitary Waste Equipment
| D20341 | Pumped Sanitary System
D2030 Sanitary Waste | D2035 | Pipe Insulation
D2040 Rain Water Drainage | D2041 | Pipe & Fittings
D2040 Rain Water Drainage | D2042 | Roof Drains
D2040 Rain Water Drainage | D2043 | Rainwater/Stormwater Drainage Equipment
| D2043 | Gray Water System
| D20431 | Pumped Storm System
D2040 Rain Water Drainage | D2044 | Pipe Insulation
D2090 Other Plumbing Systems | D2091 | Gas Distribution
D2090 Other Plumbing Systems | D2092 | Acid Waste Systems
D2090 Other Plumbing Systems | D2093 | Interceptors
D2090 Other Plumbing Systems | D2094 | Pool Piping and Equipment
D2090 Other Plumbing Systems | D2095 | Decorative Fountain Piping Devices
D2090 Other Plumbing Systems | D2099 | Other Piping Systems
| D2099 | Ground Water System
D3010 Energy Supply | D3011 | Oil Supply System
| D3011 | Diesel
D3010 Energy Supply | D3012 | Gas Supply System
D3010 Energy Supply | D3013 | Coal Supply System
D3010 Energy Supply | D3014 | Steam Supply System
D3010 Energy Supply | D3015 | Hot Water Supply System
D3010 Energy Supply | D3016 | Solar Energy System
D3010 Energy Supply | D3017 | Wind Energy System
D3020 Heat Generating Systems | D3021 | Boilers
D3020 Heat Generating Systems | D3022 | Boiler Room Piping & Specialties
D3020 Heat Generating Systems | D3023 | Auxiliary Equipment
D3020 Heat Generating Systems | D3024 | Insulation
D3030 Cooling Generating Systems | D3031 | Chilled Water Generation
D3030 Cooling Generating Systems | D3032 | Direct Expansion Systems
| D3033 | Cooling Tower System
D3040 Distribution Systems | D3041 | Air Distribution Systems
| D3041 | Air Distribution System - Supply
| D3041 | Air Distribution System - Return
| D3042 | Air Distribution System - General Exhaust
| D3042 | Air Distribution System - Lab Specialty Exhaust
D3040 Distribution Systems | D3042 | Exhaust Ventilation Systems
D3040 Distribution Systems | D3043 | Steam Distribution Systems
D3040 Distribution Systems | D3044 | Hot Water Distribution
| D3044 | Heating Water System
| D3044 | Heating Water System - Primary Loop
| D3044 | Heating Water System - Secondary Loop
| D30441 | Heating Glycol System
| D30441 | Heating Glycol System - Primary Loop
| D30441 | Heating Glycol System - Secondary Loop
| D30442 | Snow Melting System
D3040 Distribution Systems | D3045 | Chilled Water Distribution
| D30451 | Chilled Glycol System
| D30451 | Chilled Glycol System - Primary Loop
| D30451 | Chilled Glycol System - Secondary Loop
D3040 Distribution Systems | D3046 | Change-over Distribution System
D3040 Distribution Systems | D3047 | Glycol Distribution Systems
| D3048 | Compressed Air System
| D30481 | Oxygen Air System
| D30482 | Nitrogen Air System
| D3049 | Chemical Treatment
| D3049 | Heat Pump system
D3050 Terminal & Package Units | D3051 | Terminal Self-Contained Units
D3050 Terminal & Package Units | D3052 | Package Units
D3060 Controls & Instrumentation | D3061 | Heating Generating Systems
D3060 Controls & Instrumentation | D3062 | Cooling Generating Systems
D3060 Controls & Instrumentation | D3063 | Heating/Cooling Air Handling Units
D3060 Controls & Instrumentation | D3064 | Exhaust & Ventilating Systems
D3060 Controls & Instrumentation | D3065 | Hoods and Exhaust Systems
D3060 Controls & Instrumentation | D3066 | Terminal Devices
D3060 Controls & Instrumentation | D3067 | Energy Monitoring & Control
D3060 Controls & Instrumentation | D3068 | Building Automation Systems
D3060 Controls & Instrumentation | D3069 | Other Controls & Instrumentation
D3070 Systems Testing & Balancing | D3071 | Piping System Testing & Balancing
D3070 Systems Testing & Balancing | D3072 | Air Systems Testing & Balancing
D3070 Systems Testing & Balancing | D3073 | HVAC Commissioning
D3070 Systems Testing & Balancing | D3079 | Other Systems Testing and Balancing
D3090 Other HVAC Systems & Equipment | D3091 | Special Cooling Systems & Devices
D3090 Other HVAC Systems & Equipment | D3092 | Special Humidity Control
| D3092 | Steam Humidification System
D3090 Other HVAC Systems & Equipment | D3093 | Dust & Fume Collectors
D3090 Other HVAC Systems & Equipment | D3094 | Air Curtains
D3090 Other HVAC Systems & Equipment | D3095 | Air Purifiers
D3090 Other HVAC Systems & Equipment | D3096 | Paint Spray Booth Ventilation
D3090 Other HVAC Systems & Equipment | D3097 | General Construction Items (HVAC)
D4010 Sprinklers | D4011 | Sprinkler Water Supply
D4010 Sprinklers | D4012 | Sprinkler Pumping Equipment
D4010 Sprinklers | D4013 | Dry Sprinkler System
D4020 Standpipes | D4021 | Standpipe Water Supply
D4020 Standpipes | D4022 | Pumping Equipment
D4020 Standpipes | D4023 | Standpipe Equipment
D4020 Standpipes | D4024 | Fire Hose Equipment
D4030 Fire Protection Specialties | D4031 | Fire Extinguishers
D4030 Fire Protection Specialties | D4032 | Fire Extinguisher Cabinets
D4090 Other Fire Protection Systems | D4091 | Carbon Dioxide Systems
D4090 Other Fire Protection Systems | D4092 | Foam Generating Equipment
D4090 Other Fire Protection Systems | D4093 | Clean Agent Systems
D4090 Other Fire Protection Systems | D4094 | Dry Chemical System
D4090 Other Fire Protection Systems | D4095 | Hood & Duct Fire Protection
Electrical Service & Distribution | D5011 | High Voltage Power
Electrical Service & Distribution | D5012 | Low Voltage Power
Electrical Service & Distribution | D5013 | Emergency Power
Lighting & Branch Wiring | D5021 | Lighting
Lighting & Branch Wiring | D5022 | Lighting Control
Communications & Security | D5030 | Communications
Communications & Security | D5031 | Public Address
Communications & Security | D5032 | Intercommunication & Paging System
Communications & Security | D5033 | Telephony
Communications & Security | D5034 | Call Systems
Communications & Security | D5035 | Television Systems
Communications & Security | D5036 | Clock and Program
Communications & Security | D5037 | Fire Alarm Systems
Communications & Security | D5038 | Security and Detection
Other Electrical Systems | D5091 | Grounding Systems
F1040 Special Facilities | F1041 | Aquatic Facilities
F1040 Special Facilities | F1042 | Ice Rinks
F1040 Special Facilities | F1043 | Site Constructed Incinerators
F1040 Special Facilities | F1044 | Kennels & Animal Shelters
F1040 Special Facilities | F1045 | Liquid & Gas Storage Tanks
F1040 Special Facilities | F1049 | Other Special Facilities
F1050 Special Controls & Instrumentation | F1051 | Recording Instrumentation
F1050 Special Controls & Instrumentation | F1052 | Building Automation System
F1050 Special Controls & Instrumentation | F1059 | Other Special Controls & Instrumentation
Electrical Distribution | G4013 | Underground Power Distribution
Site Lighting | G4020 | Site Lighting
Site Communication & Security | G4031 | Site Communications
Site Communication & Security | G4032 | Site Security
Site Communication & Security | G4033 | Site Alarm

## DATA - abbreviations
System | Abbreviation | NOTES (FLUID, PRESSURE, TEMPERATURE) | EXAMPLE
00-DO NOT ASSIGN | ## | N/A
00-Select a system from dropdown |  | Pending input
AIR DISTRIBUTION SYSTEM | AIR | N/A
ACID WATER TREATMENT SYSTEM | ACID | N/A
AMMONIA ICE PLANT SYSTEM | AMMICEPLT | N/A
AUTO TRANSFER SWITCH SYSTEM | ATS | N/A
AUTOMATION LEVEL NETWORK | ALN | N/A
BIOHAZARD LABS SYSTEM | BIOHLAB | N/A
BUILDING LEVEL NETWORK | BLN | N/A
CAGE WASHING SYSTEMS | CGW | N/A
CHILLED WATER SYSTEM | CHLW | N/A
CHILLED WATER SYSTEM - PRIMARY LOOP | CHLW_P | N/A
CHILLED WATER SYSTEM - SECONDARY LOOP | CHLW_S | N/A
CHILLED GLYCOL SYSTEM | CH_ | X: % of Glycol Y :PG or EG - Type of Glycol, Enter as X_Y | Example: CH_50_EG
CHILLED GLYCOL SYSTEM - PRIMARY LOOP | CH_P_ | X: % of Glycol Y :PG or EG - Type of Glycol, Enter as X_Y | Example: CH_50_EG
CHILLED GLYCOL SYSTEM - SECONDARY LOOP | CH_S_ | X: % of Glycol Y :PG or EG - Type of Glycol, Enter as X_Y | Example: CH_50_EG
CHILLER SYSTEM | CHLR | N/A
CLEAN ROOM | CLNRM | N/A
COLD ROOM OR LAB COOLING SYSTEM | CLDRM | N/A
COMPRESSED AIR | CA_ | X PSI (pressure ) Enter as X | Example: CA_100
CONDENSATE PUMP SYSTEMS | CNDP | N/A
CONDENSER WATER SYSTEM | CDNW | N/A
CONTROL AIR SYSTEMS | CTRAIR | N/A
COOLING PLANT SYSTEM | CLGPLT | N/A
COOLING TOWER SYSTEM | CLGTWR | N/A
CRF SYSTEM | CRF | N/A
DECHLORINATED WATER SYSTEM | DCL | N/A
DEIONIZED WATER SYSTEM | DI | N/A
DIRECT EXPANSION SYSTEMS | DX | N/A
DOMESTIC COLD-WATER SYSTEM | DCW | N/A
DOMESTIC HOT WATER SYSTEM | DHW | N/A
ELECTRIC & ELECTRIC METERING SYSTEMS | KW | N/A
EMERGENCY GENERATOR SYSTEM | EMGEN | N/A
FIRE ALARM SYSTEM | FA | N/A
FLOOR LEVEL NETWORK | FLN | N/A
FREE COOLING SYSTEM | FREECLG | N/A
FRESH AIR +COOLING | OAC | N/A
FRESH AIR +HEATING | OAH | N/A
FRESH AIR SYSTEM ONLY | OA | N/A
FRESH AIR+HEATING+COOLING | OAHC | N/A
FUEL OIL SYSTEM | FUELOIL | N/A
GENERAL EXHAUST SYSTEM | EXHGENRL | N/A
GLYCOL GEOTHERMAL SYSTEM | GEOGL | N/A
GRAY WATER SYSTEM | GW | N/A
HEAT PUMP SYSTEM | HP | N/A
HEAT RECLAIM HOT WATER | HRCHW | N/A
HIGH PRESSURE STEAM | HPS | N/A
HIGH TEMP. HOT WATER SYSTEM | HTHW_ | Temperature in Farenheight, Enter Z | Example: HTHW_180
HEATING GLYCOL SYSTEM | HW_ | X: % of Glycol Y :PG or EG ; Z-Temperature ( Low / Medium/High) - Type of Glycol, ENTER X_Y_Z | Example: HW_50_EG_L
HEATING GLYCOL SYSTEM - PRIMARY LOOP | HW_P_ | P - primary X: % of Glycol Y :PG or EG ; Z-Temperature ( Low / Medium/High) - Type of Glycol, ENTER X_Y_Z | Example: HW_P_50_EG_L
HEATING GLYCOL SYSTEM - SECONDARY LOOP | HW_S_ | S -Secondary X: % of Glycol Y :PG or EG ; Z-Temperature ( Low / Medium/High) - Type of Glycol, ENTER X_Y_Z | Example: HW_S_50_EG_L
HEATING WATER SYSTEM | HW_ | Z-Temperature ( Low / Medium/High) - Type of Glycol, Enter as Z | Example: HW_L
HEATING WATER SYSTEM - PRIMARY LOOP | HW_P | P - primary Z-Temperature ( Low / Medium/High) - Type of Glycol, Enter as Z | Example: HW_P_L
HEATING WATER SYSTEM -SECONDARY LOOP | HW_S_ | S -Secondary ; Z-Temperature ( Low / Medium/High) - Type of Glycol, Enter as Z | Example: HW_S_L
INDUCTION UNIT CHILLED BEAM SYSTEM | IUCB | N/A
LAB EXHAUST SYSTEM | EXHLAB | N/A
OXYGEN AIR SYSTEM | O_ | X PSI (pressure ), Enter as X | Example: O_2
NITROGEN AIR SYSTEM | N_ | X PSI (pressure ), Enter as X | Example: N_2
LABORATORY COMPRESSED AIR SYSTEMS | LABAIR | X PSI (pressure ), Enter as X | Example: LABAIR_2
LABORATORY GAS SYSTEMS (use gas type in device name) | LABGAS_ | X is gas type, Example: LABGAS_X where Nitrogen (N), Oxygen (O), Argon (Ar), Enter as X | Example: LABGAS_2
LABORATORY ROOM CONTROLLER | LABRC | N/A
LABORATORY SYSTEM GENERAL | LAB | N/A
LEAK DETECTION PANEL | LPD | N/A
LOW PRESSURE STEAM SYSTEM | LPS_ | X PSI (pressure ), Enter as X | Example: LPS_15
LOW TEMPERATURE HOT WATER | LTHW | N/A
MANGANESE FILTERATION SYSTEM | MG | N/A
NATURAL GAS SYSTEM | G_ | X PSI (pressure ), Enter as X | Example: G_2
PACKAGED DX UNIT | DX | N/A
PUMPED CONDENSATE | PC | N/A
REVERSE OSMOSIS SYSTEMS | RO | N/A
SNOW MELTING SYSTEM - GLYCOL | SMGL | X: % of Glycol Y :PG or EG - Type of Glycol, Enter as X_Y | Example: SMTH_50_EG
SNOW MELTING SYSTEM - ELECTRIC | SMTE | N/A
SOFAME HOT WATER | SOF | N/A
STEAM CONDENSATE | ST_CD_ | X PSI (pressure ), Enter as X | Example: ST_CD_100
STEAM SYSTEM | ST_ | X PSI (pressure ), Enter as X | Example: ST_100
STEAM HUMIDIFICATION SYSTEM | STHUM_ | X PSI (pressure ), Enter as X | Example: STHUM_12
SUPPLY AIR SYSTEMS | SAS | N/A
SURGICAL OPERATING ROOMS | OR | N/A
VACUUM COMPRESSED AIR SYSTEM | VACAIR | N/A
VRF SYSTEM | VRF | N/A
WASHROOM EXHAUST SYSTEM | EXHWASHRM | N/A
SOLAR WATER HEATING SYSTEM | SWH | N/A
ZONE SYSTEMS | ZN | N/A
Equipment/Component | Abbreviation
ACTIVE CHILLED BEAM | ACB
AIR COMPRESSOR | AIRCOMP
AIR CONDITIONER CONDENSER | ACC
AIR CONDITIONER EVAPORATOR | ACE
AIR CONDITIONER INDOOR UNIT | IAC
AIR CURTAIN | ACR
AIR DRYER | ADR
AIR FLOW METERING DEVICES | AFM
AIR FLOW SWITCH DEVICES | AFS
AIR HANDLING UNIT | AHU
AIR PURIFIER | AP
AIR RECEIVER TANK | ART
AIR SEPARATOR | AS
ALARM | ALM
ANALYSOR | ANALZ
AREA DRAIN | AD
AUTOCLAVE | AUT
BACKDRAFT DAMPER | BDD
BACKFLOW PREVENTER | BFP
BAG FILTER | BF
BATTERY | BAT
BEARINGS | BRG
BELT | BLT
BLOWDOWN RECIEVER | BDR
BOILER | B
BTU METER | BTU
BYPASS DEVICES | BYP
CARBON DIOXIDE SENSOR | CO2
CARBON MONOXIDE SENSOR | CO
CARTRIDGE FILTER | CF
CEILING DIFFUSER | CD
CHEMICAL FEED PUMP | CFP
CHEMICAL POT FEEDER | CPF
CHILLER | CH
CHLORINE | CL
CISTERN | CIST
CLEANING DEVICES (i.e., cage washer) | CLN
COLD ROOM | CR
COLDDECK | CD
COMBINATION FLOOR DRAIN | CFD
COMPRESSOR | COMP
CONDENSATE RETURN PUMP PACKAGE | CRPP
CONDENSER UNIT/OUTDOOR UNIT | CU
CONDENSER WATER DEVICES | CDNW
CONSTANT AIR VOLUME TERMINAL BOX CONTROL SYSTEMS | CAV
CONTROL | CTRL
CONTROL PANEL | CP
CONTROL VALVE | CV
CONVECTOR | CONV
COOLING | CLG
COOLING COIL | CC
COOLING TOWER | CT
CURRENT SENSING RELAY | CSR
CYPRUS T-STAT DEVICE | CYP
DAMPER | DAMP
DEHUMIDIFIER DEVICES | DEHUM
DELUGE SHOWER | DS
DESSICANT WHEEL | DWL
DEWPOINT | DEWPT
DIFFERENTIAL PRESSURE DEVICES | DP
DIRECT DIGITAL CONTROLLER | DDC
DOMESTIC WATER HEATER | DWH
DOOR GRILLE | DG
DOWN DUCT DEVICES | DWDUCT
DRY COOLER | DC
ECONOMIZER DEVICES | ECON
ELECTRIC BASEBOARD HEATER | EBH
ELECTRIC HEAT DEVICES | EH
ELECTRIC/PNEUMATIC COIL | EP
EMERGENCY DEVICES | EMER
END SWITCH | ESW
ENERGY RECOVERY VENTILATOR | ERV
EQUIPMENT | EQP
EXHAUST AIR DAMPER | EAD
EXHAUST DIFFUSER | ED
EXHAUST FAN | EF
EXHAUST GRILLE | EG
EXHAUST REGISTER | ER
EXPANSION (OBJECTS) | EXP
EXPANSION TANK | ET
EYEWASH STATION | EWS
FACE & BYPASS DAMPER | FBDAMP
FACE BYPASS | FB
FAN | FAN
FAN COIL UNITS | FCU
FAN POWERED TERMINAL UNIT | FPT
FILTER | FLTR
FIRE AND SMOKE DAMPER | FSD
FIRE DAMPER | FD
FLASH TANK | FT
FLOOR DRAIN | FDR
FLOW CONTROL VALVE | FCV
FLOW TRANSMITTER | FT
FORCED FLOW HEATER | FFH
FREEZE STAT PROTECTION | FZ
FREEZER | FRZ
FUME HOOD | FH
FUNNEL FLOOR DRAIN | FFD
FURNACE | FU
GAS DETECTION SYSTEM | GD
GENERATOR | GEN
GREASE INTERCEPTOR | GI
GROUND WATER FILTRATION UNIT | GWF
GROWTH CHAMBER | GC
HEAT EXCHANGER | HX
HEAT PUMP | HPMP
HEAT PUMP - GROUND SOURCE | GSHP
HEAT PUMP -AIR SOURCE | ASHP
HEAT PUMP -WATER SOURCE | WSHP
HEAT RECOVERY CHILLER | HRC
HEAT RECOVERY UNIT/ENERGY HEAT WHEEL | HRU
HEAT WHEEL | HW
HEATER (UNIT, CABINET, DUCT, GAS FIRED HEATERS) | HTR
HEATING COIL | HC
HORNS AND BELLS | BELL
HOT WATER HEATER | HWH
HUMIDIFIER | HUM
HUMIDISTAT | HS
INCINERATOR | I
INDUCTION UNIT | IU
LEVEL CONTROLLER | LC
MAKE UP AIR UNIT | MAU
METER | MTR
MISCELLANEOUS & GENERAL-PURPOSE FANS | FAN
MOISTURE SEPARATOR | MS
MOTORIZED DAMPER | MD
OIL INTERCEPTOR | OI
OPTV | OPTV
OUTSIDE AIR DAMPER | OAD
PASSIVE CHILLED BEAM | PCB
PNEUMATIC CONTROLLER | PC
POOL EQUIPMENT | PEQ
PREHEAT COIL | PHC
PREHEAT DEVICES | PPHT
PRESSURE REDUCING VALVE | PRV
PUMP | P
RADIATOR | R
REHEAT DEVICES | RHT
RETURN AIR DAMPER | RAD
RETURN DIFFUSER | RD
RETURN FAN | RF
RETURN GRILLE | RG
RETURN REGISTER | RR
REVERSE OSMOSIS FILTRATION PACKAGE | RO
ROOF DRAIN | RDR
ROOF TOP UNIT | RTU
ROOM PRESSURIZATION CONTROLLER | RPC
SAFETY RELIEF VALVE | SRV
SEPARATOR AMALGAM | SAM
SMOKE CONTROL DEVICES | SMK
SMOKE DAMPER | SD
STANDBY DEVICES | STBY
STEAM CONDENSATE TANK | SCT
STEAM GENERATOR | STMG
STEAM TRAP | STRP
STERILIZED (WASHER) | WSHR
STORAGE TANK | ST
SUMP PUMP SANITARY | SPS
SUMP PUMP STORM | SPST
SUPPLY AIR DIFFUSER | SAD
SUPPLY FAN | SF
SUPPLY GRILLE | SG
SUPPLY REGISTER | SR
SWITCH | SW
TANK SYSTEMS | TNK
TANKLESS HOT WATER UNIT | TDHW
TEMPERATURE SENSOR | TEMP
TRANSFER GRILLE | TG
ULTRASONIC FLOW METER | ULTRSFLOM
UNIT HEATER | UH
VALVE | VLV
VANE DAMPER | VANDAMP
VARIABLE AIR VOLUME TERMINAL BOX SYSTEM | VAV
VARIABLE FREQUENCY DRIVE/CONTROLLER | VFD
VENTURI | VEN
VOLUME DAMPER | VD
VORTEX FLOW METER | VTXFLOM
WATER DETECTOR | WD
WATER FILTER | WF
WATER SOFTENER | WS
WINDOW AIR CONDITIONER UNIT | WAC
WRAP HEAT COIL | WHC
MECHANICAL METER TYPES | ABBREVIATION
BTU Meter | MTR-BTU
Chilled Water Meter | MTR-CHW
Primary Chilled Water Meter | MTR-PCW
Condensate Meter | MTR-CND
Deionized Water Meter | MTR-DIO
Domestic Cold Water Meter | MTR-DCW
Domestic Hot Water Meter | MTR-DHW
High temp hot water | MTR-HW
Primary Hot Water Meter | MTR-PHW
High Pressure Stream Meter | MTR-HPS
Low Pressure Steam Meter | MTR-LPS
Make up Water Meter | MTR-MUW
Natural Gas Meter | MTR-NG
River Water Meter | MTR-RIV
Sofame meter | MTR-SOF
Low temp hot water meter | MTR-LTHW