Wiring installation qualification form – template for B-BC controllers (ETHERNET Interface only)

Important note:

The content of all the screenshots must be easily readable. Failure to provide properly captured and easy-to-read screenshots will result in a delay in the approval process.

| Device name | Fluke report cable ID | Digital picture(s) of the device with the wall module Label: | Digital picture(s) of the device cable label Label: | Digital picture(s) of the patch panel module Label: | Digital picture(s) of the patch panel cable label Label: | Date and initials |
| --- | --- | --- | --- | --- | --- | --- |
| EXAMPLE: 070_DDC03 | 070_DDC03 | Label: TO: Basement IT Room 44 | Label: TO: Basement IT Room 44 | Label: SIEMENS BAS | Label: TO: Mech Rm20, Basement, HTG/CLG 111DDC02 | 01-MAR-2017, JS |