## Design STD's Naming
Building automation system point naming convention
Please use this form to create the point name for building automation systems
Instructions
1. The building automation system contractor shall use this spreadsheet to develop point names for programming into the controller.
2. Contractor shall assign the numbers of system name and device name as per the equipment schedule.
3. Contractor shall adhere to this nomenclature for all points to be interfaced with the graphical user interface (GUI).
4. The point name shall uniquely identify the point within the EMRS and describe the point function.
5. The name will include point location, category, equipment type, space type and point type.
6. Refer to building automation design standard section 3.13 point nomenclature for more information.
to be completed by the contractor
auto-generated point name
| Building code | System name | Device name | Units for measurement | Point name | Building code list |  |  | System name list |  | Device name list
Example | 005 | COMPARE1 | SP2 | PSI | 005_COMPARE1_SP2_PSI | Campus | Building code | Building name | Abbreviation | Description | Abbreviation | Description
[6 empty] | Other Federated Colleges | 34 | Massey College | AHU# | AIR HANDLING UNIT | AFM# | AIR FLOW METERING DEVICES
[9 empty] | ALN# | AUTOMATION LEVEL NETWORK | AFS# | AIR FLOW SWITCH DEVICES
[6 empty] | Other Federated Colleges | 433 | Queen's Park Crescent East-43 | AMMICEPLT# | AMMONIA ICE PLANT SYSTEM | AIRCOMP# | AIR COMPRESSOR
[9 empty] | ATS# | AUTO TRANSFER SWITCH SYSTEM | AIRX# | AIR CHANGES
[6 empty] | Other Federated Colleges | 434 | Toronto School of Theology | BIOHLAB# | BIOHAZARD LABS SYSTEM | ALM# | ALARM
[9 empty] | BLR# | BOILER SYSTEM | AMP# | AMPERAGE
[6 empty] | Other Federated Colleges | 478 | Regis College | BLN# | BUILDING LEVEL NETWORK | ANALZ# | ANALYSOR
[9 empty] | CTRAIR# | CONTROL AIR SYSTEMS | AUTO# | AUTOMATIC
[6 empty] | Other Federated Colleges | 575 | Knox College | CAV# | CONTSTANT AIR VOLUME TERMINAL BOX CONTROL SYSTEMS | AVG# | AVERAGE
[9 empty] | CHLR# | CHILLER SYSTEM | BAT# | BATTERY
[6 empty] | Other Federated Colleges | 575A | Nona Macdonald Visitors Centre | CHLW# | CHILLED WATER SYSTEM | BELL# | HORNS AND BELLS
[9 empty] | CLDRM# | COLD ROOM OR LAB COOLING SYSTEM | BLDG# | BUILDING
[6 empty] | Other Federated Colleges | 675 | Wycliffe College | CLGPLT# | COOLING PLANT SYSTEM | BRG# | BEARINGS
[9 empty] | CLGTWR# | COOLING TOWER SYSTEM | BYP# | BYPASS DEVICES
[6 empty] | St. George | 001 | University College | CGW# | CAGE WASHING SYSTEMS | CFM# | CUBIC FEET PER MINUTE
[6 empty] | St. George | 002 | Hart House | COMPARE# | COMPRESSED AIR SYSTEM | CD# | COLDDECK
[6 empty] | St. George | 003 | Gerstein Science Information Centre in the Sigmund | CDNW# | CONDENSER WATER SYSTEM | CL# | CHLORINE
[8 empty] | Samuel Library | CNDP# | CONDENSATE PUMP SYSTEMS | CLG# | COOLING
[6 empty] | St. George | 004 | McMurrich Building | COR# | CORRIDOR/HALLWAY CONTROL POINTS | CLGDNM# | COOL-DOWN MODE
[6 empty] | St. George | 005 | Medical Sciences Building | DCW# | DOMESTIC COLD-WATER SYSTEM | CLN# | CLEANING DEVICES (i.e., cage washer)
[6 empty] | St. George | 006 | John P. Robarts Library Building | DHW# | DOMESTIC HOT WATER SYSTEM | CLNRM# | CLEAN ROOM
[6 empty] | St. George | 006A | Claude T. Bissell Building | DX# | DIRECT EXPANSION SYSTEMS (the # is stage #) | CO# | CARBON MONOXIDE
[6 empty] | St. George | 006B | Thomas Fisher Rare Book Library Building | EMGEN# | EMERGENCY GENERATOR SYSTEM | COMP# | COMPRESSOR
[6 empty] | St. George | 007 | Lassonde Mining Building | FA# | FIRE ALARM SYSTEM | COND# | CONDUCTIVITY
[6 empty] | St. George | 008 | Wallberg Building | FAN# | MISCELLANEOUS & GENERAL-PURPOSE FANS | CO2# | CARBON DIOXIDE
[6 empty] | St. George | 008A | D.L. Pratt Building | FCU# | FAN COIL UNITS | CDNW# | CONDENSER WATER DEVICES
[6 empty] | St. George | 9 | Sandford Fleming Building | FREECLG# | FREE COOLING SYSTEM | CTRL# | CONTROL
[6 empty] | St. George | 10 | Simcoe Hall | FLN# | FLOOR LEVEL NETWORK | CYP# | CYPRUS T-STAT DEVICE
[6 empty] | St. George | 010A | Convocation Hall | FUELOIL# | FUEL OIL SYSTEM | DAMP# | DAMPER
[6 empty] | St. George | 11 | C. David Naylor Building | FUMH# | FUME HOOD SYSTEM | DAY# | DAY
[6 empty] | St. George | 012A | Munk School of Global Affairs & Public Policy at Trinity | HPMP# | HEAT PUMP SYSTEM | DEC# | DECREMENT
[6 empty] | St. George | 012B | Munk School of Global Affairs & Public Policy at Trinity | HRU# | HEAT RECOVERY UNIT/ENERGY HEAT WHEEL | DEWPT# | DEWPOINT
[6 empty] | St. George | 012C | Munk School of Global Affairs & Public Policy - Graham | HX# | HEAT EXCHANGER SYSTEM | DEHUM# | DEHUMIDIFIER DEVICES
[8 empty] | Library | HW# | HOT WATER SYSTEM | DISA# | DISABLE
[6 empty] | St. George | 013 | Whitney Hall | HWHX# | HOT WATER HEAT EXCHANGER SYSTEM | DLY# | DELAY
[6 empty] | St. George | 14 | Bloor Street West-371 | HTHWHX# | HIGH TEMP. HOT WATER HEAT EXCHANGER SYSTEM | DP# | DIFFERENTIAL PRESSURE DEVICES
[6 empty] | St. George | 16 | Banting Institute | HTR# | HEATER (i.e., UNIT, CABIENT, DUCT, GAS FIRED HEATERS) | DWDUCT# | DOWN DUCT DEVICES
[6 empty] | St. George | 17 | Queen's Park-90 | IUCB# | INDUCTION UNIT CHILLED BEAM SYSTEM | EAF# | EXHAUST AIR FAN
[6 empty] | St. George | 18 | Central Steam Plant | KW# | ELECTRIC & ELECTRIC METERING SYSTEMS | EAST | EAST
[6 empty] | St. George | 19 | J. Robert S. Prichard Alumni House | LAB# | LABORATORY AREA/ZONE/LEVEL | ECON# | ECONOMIZER DEVICES
[6 empty] | St. George | 20 | Rosebrugh Building | LABAIR# | LABORATORY COMPRESSED AIR SYSTEMS | ENT# | ENTERING
[6 empty] | St. George | 21 | Engineering Annex | LABGAS# | LABORATORY GAS SYSTEMS (use gas type in device name) | ENTH# | ENTHALPY
[6 empty] | St. George | 22 | Mechanical Engineering Building | LABRC# | LABORATORY ROOM CONTROLLER | EP# | ELECTRIC/PNEUMATIC COIL
[6 empty] | St. George | 23 | University College Union | LABVAC# | LABORATORY VACUUM COMPRESSED AIR SYSTEM | EN# | ENABLE/DISABLE Points (NOT Based on a Schedule)
[6 empty] | St. George | 24 | Haultain Building | OR# | SURGICAL OPERATING ROOMS | EMER# | EMERGENCY DEVICES
[6 empty] | St. George | 25 | FitzGerald Building | RO# | REVERSE OSMOSIS SYSTEMS | ESW# | END SWITCH
[6 empty] | St. George | 26 | Cumberland House | SAS# | SUPPLY AIR SYSTEMS | EH# | ELECTRIC HEAT DEVICES
[6 empty] | St. George | 27 | Physical Geography Building - St. George Street-45 | SUMP# | SUMP PUMP | EXHCFM# | EXHAUST CFM
[6 empty] | St. George | 28 | Student Commons | TNK# | TANK SYSTEMS | EXH# | EXHAUST
[6 empty] | St. George | 29 | Sir Daniel Wilson Residence | VACAIR# | VACUUM COMPRESSED AIR SYSTEM | EXHLAB# | LAB EXHAUST
[6 empty] | St. George | 030A | Varsity Centre | VAV# | VARIABLE AIR VOLUME TERMINAL BOX SYSTEM | EXHWASHRM# | WASHROOM EXHAUST
[6 empty] | St. George | 31 | Hart House Circle-16 (Demolished 98/09) | WSHR# | STERILIZED (WASHER) | EXHGENRL# | GENERAL EXHAUST
[6 empty] | St. George | 32 | Wetmore Hall-New College | WUM# | WARM-UP MODE | EXP# | EXPANSION (OBJECTS)
[6 empty] | St. George | 032A | Wilson Hall-New College | ZN# | ZONE SYSTEMS | FBDAMP# | FACE & BYPASS DAMPER
[6 empty] | St. George | 33 | Sidney Smith Hall |  |  | FAN# | FAN
[6 empty] | St. George | 36 | Astronomy & Astrophysics Building |  |  | FAULT# | FAULT
[6 empty] | St. George | 38 | Woodsworth College |  |  | FAST# | FAST SPEED
[6 empty] | St. George | 40 | Faculty of Law |  |  | FDBK# | FEEDBACK
[6 empty] | St. George | 41 | Varsity Pavilion |  |  | FB# | FACE BYPASS
[6 empty] | St. George | 42 | Goldring Centre for High Performance Sport |  |  | FLO# | FLOW
[6 empty] | St. George | 43 | School of Graduate Studies |  |  | FLR# | FLOOR SPECIFICATION (where # is B3, B2, B1, 1,2, …, PH)
[6 empty] | St. George | 47 | Canadiana Gallery |  |  | FLTR# | FILTER
[6 empty] | St. George | 50 | Falconer Hall |  |  | FT# | FLOW TRANSMITTER
[6 empty] | St. George | 51 | Edward Johnson Building |  |  | FZ# | FREEZE STAT PROTECTION
[6 empty] | St. George | 53 | Dr. Eric Jackman Institute of Child Study |  |  | G# | GLOBAL OR VIRTUAL POINT
[6 empty] | St. George | 54 | Daniels Building |  |  | GEN# | GENERATOR
[6 empty] | St. George | 55 | Highland Avenue-93 |  |  | GILFLOM# | GILFLO METER
[6 empty] | St. George | 56 | Graduate Students' Union |  |  | H2# | HYDROGEN
[6 empty] | St. George | 57 | Bancroft Building |  |  | HD# | HOTDECK
[6 empty] | St. George | 61 | Borden Building South |  |  | HE# | HELIUM
[6 empty] | St. George | 061A | Borden Building North |  |  | HEPFLTR# | HEPA FILTER
[6 empty] | St. George | 62 | Earth Sciences Centre |  |  | HI# | HIGH
[6 empty] | St. George | 64 | Graduate House |  |  | HR# | HOURLY
[6 empty] | St. George | 65 | Dentistry Building |  |  | HS# | HIGH SPEED
[6 empty] | St. George | 66 | Spadina Avenue-665 |  |  | HTHW# | HIGH TEMPERATURE HOT WATER
[6 empty] | St. George | 67 | Huron Street-215 |  |  | HTG# | HEATING
[6 empty] | St. George | 68 | Clara Benson Building |  |  | HTRC# | HEAT TRACE
[6 empty] | St. George | 068A | Warren Stevens Building |  |  | HT# | HIGH TEMPERATURE
[6 empty] | St. George | 70 | Galbraith Building |  |  | HL# | HIGH LIMIT
[6 empty] | St. George | 72 | Ramsay Wright Laboratories |  |  | HLS# | HIGH LIMIT SUPPLY
[6 empty] | St. George | 73 | Lash Miller Chemical Laboratories |  |  | HLR# | HIGH LIMIT RETURN
[6 empty] | St. George | 75 | Faculty Club |  |  | HOA# | HAND-OFF-AUTO
[6 empty] | St. George | 77 | Sussex Court |  |  | HOTRM# | HOT ROOM SYSTEM POINTS
[6 empty] | St. George | 78 | McLennan Physical Laboratories |  |  | HOUR# | TIME HOURS
[6 empty] | St. George | 79 | Anthropology Building |  |  | HP# | HIGH PRESSURE DEVICES
[6 empty] | St. George | 80 | Bahen Centre for Information Technology |  |  | HUM# | HUMIDITY DEVICES
[6 empty] | St. George | 82 | Gage Building |  |  | HUMSPT# | HUMIDITY SETPOINT
[6 empty] | St. George | 83 | McCaul Street-254/256 |  |  | INC# | INCREMENT
[6 empty] | St. George | 87 | Myhal Centre for Engineering Innovation and |  |  | ISO# | ISOLATION DEVICES
[8 empty] | Entrepreneurship |  |  | LCN# | LOCATION (i.e., CONTROL PANEL RESIDENCE)
[6 empty] | St. George | 88 | St. George Street-123 |  |  | LEADLAG# | LEAD/LAG TOGGLE
[6 empty] | St. George | 89 | Munk School of Global Affairs & Public Policy at the |  |  | LIT# | LIGHTS
[8 empty] | Observatory |  |  | LAB# | LABORATORY (where # is the room number)
[6 empty] | St. George | 90 | College Street-88 |  |  | LITON# | LIGHT ON TIME
[6 empty] | St. George | 91 | Luella Massey Studio Theatre |  |  | LITOFF# | LIGHT OFF TIME
[6 empty] | St. George | 92 | Communications House |  |  | LITPRF# | LIGHT PROOF (photocell)
[6 empty] | St. George | 93 | Electrometallurgy Lab |  |  | LL# | LOW LIMIT
[6 empty] | St. George | 94 | Back campus Fields |  |  | LOAD# | LOAD (used for chillers, electrical)
[6 empty] | St. George | 97 | Queen's Park Crescent East-39 |  |  | LOC# | LOCAL CONTROL POINT
[6 empty] | St. George | 097A | Queen's Park Crescent. E.-39A |  |  | LOW# | LOW
[6 empty] | St. George | 098B | Wellesley Street West-90 |  |  | LS# | LOW SPEED
[6 empty] | St. George | 098C | Wellesley Street West-90 |  |  | LPO# | LOOP OUTPUT
[6 empty] | St. George | 101 | Morrison Hall |  |  | LT# | LOW TEMPERATURE
[6 empty] | St. George | 102 | Soldiers' Tower |  |  | LVG# | LEAVING
[6 empty] | St. George | 103 | School of Continuing Studies |  |  | LVL# | LEVEL INDICATION
[6 empty] | St. George | 104 | Max Gluskin House |  |  | MAN# | MANUAL
[6 empty] | St. George | 105 | Fields Inst for Research in Math Science |  |  | MAKUP# | MAKE-UP
[6 empty] | St. George | 106 | St. George Street-162 |  |  | MD# | MODE
[6 empty] | St. George | 109 | College Street-179 |  |  | MECHRM# | MECHANICAL EQUIPMENT ROOM LOCATION
[6 empty] | St. George | 110 | St. George Street-121 |  |  | MEDGAS# | MEDICAL GAS SYSTEMS (use gas type in device name)
[6 empty] | St. George | 111 | Factor-Inwentash Faculty of Social Work |  |  | METER# | METERS
[6 empty] | St. George | 112 | College Street-185 |  |  | MIN# | MINIMUM
[6 empty] | St. George | 114 | College Street-187 |  |  | MED# | MEDIUM OR MEDIAN
[6 empty] | St. George | 118 | Aura Lee Playing Field |  |  | M# | MODE
[6 empty] | St. George | 120 | Louis B. Stewart Observatory (UTSU) |  |  | NORTH | NORTH
[6 empty] | St. George | 122 | North West Chiller Plant |  |  | MON# | MONTHLY
[6 empty] | St. George | 123 | Ontario Institute for Studies in Education |  |  | MTHWHX# | MEDIUM TEMP. HOT WATER HEAT EXCHANGER SYSTEM
[6 empty] | St. George | 125 | Spadina Avenue-703 |  |  | MXT# | MIXED AIR DEVICES
[6 empty] | St. George | 127 | Enrolment Services |  |  | N2# | NITROGEN
[6 empty] | St. George | 128 | Jackman Humanities Building |  |  | O2# | OXYGEN
[6 empty] | St. George | 129 | Early Learning Centre |  |  | OA# | OUTSIDE AIR DEVICES
[6 empty] | St. George | 130 | Woodsworth College Residence |  |  | OCC# | OCCUPANCY (based on a schedule)
[6 empty] | St. George | 131 | New College III |  |  | OCC-OVRD# | OCCUPANCY OVERRIDE
[6 empty] | St. George | 132 | Innis College |  |  | OFF# | OFF
[6 empty] | St. George | 133 | Innis College Student Residence |  |  | OFFST# | OFFSET
[6 empty] | St. George | 134 | Rotman School of Management |  |  | ON# | ON
[6 empty] | St. George | 135 | St. George Parking Garage |  |  | OPER# | OPERATOR
[6 empty] | St. George | 138 | Huron Street-370 |  |  | OVLD# | OVERLOAD DEVICES
[6 empty] | St. George | 143 | Koffler Student Services Centre |  |  | OVRD# | OVERIDE DEVICES
[6 empty] | St. George | 145 | Koffler House |  |  | PARKGR# | PARKING GARAGE SYSTEM
[6 empty] | St. George | 146 | Sussex Avenue-40 |  |  | PB# | PROPORTIONAL BAND
[6 empty] | St. George | 147 | College Street-171 |  |  | PCT# | PERCENT
[6 empty] | St. George | 151 | Fasken Building |  |  | PF# | PREFILTER DEVICES
[6 empty] | St. George | 152 | Rehabilitation Sciences Building |  |  | PH# | ACID/BASE LEVEL
[6 empty] | St. George | 154 | Health Sciences Building |  |  | PHT# | PREHEAT DEVICES
[6 empty] | St. George | 155 | Exam Centre |  |  | PLTPRTY# | PLANT PRIORITY
[6 empty] | St. George | 156 | McCaul Street-263 |  |  | PMP# | PUMP DEVICES OR NUMBER
[6 empty] | St. George | 158 | Chestnut Residence and Conference Centre |  |  | POS# | POSITION
[6 empty] | St. George | 160 | Terrence Donnelly Ctr for Cellular & Biomolecular Res |  |  | PPM# | PARTS PER MILLION
[6 empty] | St. George | 161 | Leslie L. Dan Pharmacy Building |  |  | PRC# | PRESSURIZD ROOM CONTROLLER
[6 empty] | St. George | 171 | Spadina Ave-455 |  |  | PRF# | PROOF
[6 empty] | St. George | 172 | Macdonald-Mowat House |  |  | PRI# | PRIMARY
[6 empty] | St. George | 179 | College Street-229 |  |  | PRS# | PRESSURE SWITCH
[6 empty] | St. George | 189 | Spadina Avenue-720 |  |  | PRV# | PRESSURE REDUCING VALVE
[6 empty] | St. George | 191 | McCaul Street-207 |  |  | PSI# | PRESSURE GAUGE
[6 empty] | St. George | 192 | Stewart Building |  |  | PSPT# | PRESSURE SET POINT
[6 empty] | St. George | 193 | Edward Street-123 |  |  | PT# | PRESSURE TRANSMITTER
[6 empty] | St. George | 194 | TWH - Krembil Discovery Tower |  |  | PMP# | PUMP
[6 empty] | St. George | 195 | MARS 2 |  |  | PWR# | POWER
[6 empty] | St. George | 196 | University Avenue-700 |  |  | PWRFAIL# | ON POWER RETURN POWER FAIL POINT FOR PANELS
[6 empty] | St. George | 197 | Bay Street-777 |  |  | R# | RETURN DEVICES
[6 empty] | St. George | 790 | Charles St. West-30 |  |  | RA# | RETURN AIR DEVICES
[6 empty] | St. George | 791 | Charles St. West-35 |  |  | RAREBKS# | RARE BOOKS
[6 empty] | Trinity College | 600 | Trinity College |  |  | RAF# | RETURN AIR FAN
[6 empty] | Trinity College | 602 | Gerald Larkin Building |  |  | REFIGA# | REFRIGERANT ALARM DEVICES
[6 empty] | Trinity College | 603 | George Ignatieff Theatre |  |  | RST# | RESET (command only)
[6 empty] | Trinity College | 608 | St. Hilda's College |  |  | RHT# | REHEAT DEVICES
[6 empty] | Victoria University | 501 | Victoria College |  |  | RM# | ROOM NUMBER
[6 empty] | Victoria University | 502 | Emmanuel College |  |  | RMTEMP # | ROOM TEMPERATURE
[6 empty] | Victoria University | 503 | Birge-Carnegie Library |  |  | RMSPT# | ROOM TEMPERATURE SETPOINT
[6 empty] | Victoria University | 504 | Burwash Hall |  |  | RMHUM# | ROOM HUMIDITY
[6 empty] | Victoria University | 505 | Burwash Residence (Lower Houses) |  |  | RPC# | ROOM PRESSURIZATION CONTROLLER
[6 empty] | Victoria University | 505A | Burwash Residence (Upper Houses) |  |  | RPM# | REVOLUTIONS PER MINUTE
[6 empty] | Victoria University | 506 | Annesley Hall |  |  | RSR# | DUCT/PIPE RISER OBJECTS
[6 empty] | Victoria University | 507 | Goldring Student Centre |  |  | SA# | SUPPLY AIR DEVICE
[6 empty] | Victoria University | 508 | Margaret Addison Hall |  |  | SAF# | SUPPLY AIR FAN
[6 empty] | Victoria University | 509 | Isabel Bader Theatre |  |  | SCHED# | SCHEDULE
[6 empty] | Victoria University | 513 | Stephenson House |  |  | SEC# | SECONDS
[6 empty] | Victoria University | 514 | E.J. Pratt Library |  |  | SECD# | SECONDARY
[6 empty] | Victoria University | 515 | Northrop Frye Hall |  |  | SPT# | SET POINT (used as a suffix to any other device name)
[6 empty] | Victoria University | 516 | Charles Street West-65 |  |  | SP# | STATIC PRESSURE
[6 empty] | Victoria University | 518 | Rowell Jackman Hall |  |  | SIG# | SIGNAL
[6 empty] | Victoria University | 528 | Lillian Massey Building |  |  | STS# | STATUS
[11 empty] | S# | SUPPLY DEVICES
[11 empty] | SW# | SUMMER/WINTER
[11 empty] | SMK# | SMOKE CONTROL DEVICES
[11 empty] | SOUTH | SOUTH
[11 empty] | SS# | START/STOP
[11 empty] | START# | START (command only)
[11 empty] | STOP# | STOP (command only)
[11 empty] | STS# | STATUS
[11 empty] | STBY# | STANDBY DEVICES
[11 empty] | STM# | STEAM DEVICES
[11 empty] | STMFL# | STEAM FLOW
[11 empty] | STMGEN# | CLEAN STEAM SYSTEMS
[11 empty] | STMHX# | STEAM HEAT EXCHANGER SYSTEM
[11 empty] | SURGYVACS# | SURGERY VACUUM AIR SYSTEM
[11 empty] | SWIMPL# | SWIMMIMING POOL
[11 empty] | TEC# | TERMINAL EQUIPMENT CONTROLLER
[11 empty] | TIMEDLY# | TIME DELAY
[11 empty] | TEMP# | TEMPERATURE
[11 empty] | TIME# | TIME CONTROL UNITS
[11 empty] | TOT# | TOTALIZED VALUE OR TOTAL
[11 empty] | TT# | TEMPERATURE TRANSMITTTER
[11 empty] | ULTRSFLOM# | ULTRA SONIC FLOW METER
[11 empty] | UVLIT# | ULTRAVIOLET LIGHT
[11 empty] | VANDAMP | VANE DAMPER
[11 empty] | VEN# | VENTURI
[11 empty] | VP# | VELOCITY PRESSURE
[11 empty] | VFD# | VARIBLE FREQUENCY DRIVE OUTPUT SIGNAL
[11 empty] | VTXFLOM# | VORTEX FLOW METER
[11 empty] | VLV# | VALVE
[11 empty] | WEST | WEST
[11 empty] | WD# | WATER DETECTOR
[11 empty] | # | IDENTIFICATION NUMBERS
Note on B15: Christopher Lynch: Select a Building Number from the Building Code list.
Note on C15: Christopher Lynch: Select a Sytem Name from the System Name list
Note on D15: Christopher Lynch: Select a Device Name from the Device Name list. EG. AFM for an Air Flow Mwtering Device.
Note on E15: Christopher Lynch Select Device Units from the Device Name List also. EG. PSI for Pounds Square Inch.
Note on F15: Christopher Lynch: When all of the oother 4 columns have been completed you will be left with a point name that conforms to UoT point naming convention.
Note on F16: Christopher Lynch: Example of point name after all boxes are complete